## S5_lines
S5 (H1, L1) Instrumental lines
Catalog compiled by Robert Schofield and others
Posted Sat, Jan 15 2011 |  |  |  | http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=01/14/2011&anchor_to_scroll_to=2011:01:14:16:49:44-robert
COLUMN KEY
1) central frequency
2) the number of harmonics including the fundamental
3) Low frequency side of the band to knock out. For lines measured by
FWHM, I use +/- 1.28*FWHM (+/- 3 sigma for a Gaussian) as the knock-out band.
4) High frequency side of the band to knock out. For harmonics, the 3rd and 4th columns should be multiplied by the harmonic number (e.g. for harmonic 1000 of 1 Hz, 3rd and 4th columns should be multiplied by 1000). The width of the 1 Hz knock-outs was adjusted to catch the near 1Hz lines that I have seen, which seem to come from non-GPS-synched microprocessors.
5) line identification
6) simplified ID
H1 S5 List
60 | 121 | 59.96 | 61.04 | MainsPower | Mains
46.7 | 1 | 46.6932 | 46.7068 | CalibLine | Calibration
48 | 1 | 47.96 | 49.04 | ChillerSidebands | Pulsed-heating
51 | 1 | 50.96 | 52.04 | ChillerSidebands | Pulsed-heating
54 | 1 | 53.96 | 55.04 | ChillerSidebands | Pulsed-heating
57 | 1 | 56.96 | 58.04 | ChillerSidebands | Pulsed-heating
63 | 1 | 62.96 | 64.04 | ChillerSidebands | Pulsed-heating
66 | 1 | 65.96 | 67.04 | ChillerSidebands | Pulsed-heating
69 | 1 | 68.96 | 70.04 | ChillerSidebands | Pulsed-heating
72 | 1 | 71.96 | 73.04 | ChillerSidebands | Pulsed-heating
85.8 | 1 | 85.79 | 85.81 | LVEAH1RackMag | Electronics
89.9 | 1 | 89.84 | 89.96 | 5Vh1lscauxl0PowerSupply | Electronics
93.05 | 1 | 93.04 | 93.06 | BSC10MICandMAG | Unknown
93.25 | 1 | 93.24 | 93.26 | MMT1-2-3ShadowSensors | Unknown
139.95 | 1 | 139.94 | 139.96 | +15VSupplyRipple | Electronics
164.52 | 1 | 164.51 | 164.53 | H1dscl2+5V | Electronics
329.51 | 2 | 329.49 | 329.53 | ViolinBS | Wire
329.58 | 1 | 329.56 | 329.59 | DemodMag | Electronics
329.59 | 2 | 329.57 | 329.61 | ViolinBS | Wire
329.7 | 2 | 329.67 | 329.72 | ViolinBS | Wire
329.78 | 2 | 329.75 | 329.8 | ViolinBS | Wire
329.86 | 1 | 329.85 | 329.87 | DemodMag | Electronics
335.695 | 1 | 335.67 | 335.72 | ViolinRM | Wire
335.723 | 1 | 335.698 | 335.748 | ViolinRM | Wire
335.741 | 1 | 335.716 | 335.766 | ViolinRM | Wire
335.82 | 1 | 335.795 | 335.845 | ViolinRM | Wire
343.2879 | 1 | 343.261 | 343.315 | Violin | Wire
343.4145 | 1 | 343.394 | 343.435 | ETMX?ViolinMode | Wire
343.9272 | 1 | 343.907 | 343.948 | ETMX?Violin | Wire
344.0584 | 1 | 344.038 | 344.079 | ETMX?ViolinMode | Wire
344.5247 | 1 | 344.499 | 344.55 | ETMX?Violin | Wire
344.6685 | 1 | 344.647 | 344.69 | ETMYViolin | Wire
344.7186 | 1 | 344.692 | 344.745 | ETMYViolinMode | Wire
344.828 | 1 | 344.809 | 344.847 | ETMY?ViolinMode | Wire
347.1824 | 1 | 347.16 | 347.204 | ITMX?Violin | Wire
347.3107 | 1 | 347.29 | 347.331 | ITMX?ViolinMode | Wire
347.3635 | 1 | 347.34 | 347.387 | Violin | Wire
347.5099 | 1 | 347.489 | 347.531 | ITMX?ViolinMode | Wire
347.5818 | 1 | 347.557 | 347.606 | Violin | Wire
347.686 | 1 | 347.664 | 347.708 | ITMY?ViolinMode | Wire
347.723 | 1 | 347.703 | 347.743 | ITMYViolinMode | Wire
393.1 | 1 | 393.093 | 393.107 | CalibLine | Calibration
539.43 | 1 | 539.42 | 539.44 | H1centerSupply-5V | Electronics
546.06 | 3 | 545.89 | 546.21 | MC2ViolinPoorClamp | Wire
548.36 | 1 | 548.35 | 548.37 | lscl0CPUField | Electronics
564.07 | 3 | 563.9 | 564.22 | MC2or3Violin | Wire
566.1 | 3 | 565.93 | 566.25 | MC2or3Violin | Wire
568.1 | 3 | 567.93 | 568.25 | MC2or3Violin | Wire
646.385 | 3 | 646.22 | 646.535 | MC1Violin | Wire
648.835 | 3 | 648.67 | 648.985 | MC1Violin | Wire
649.87 | 1 | 649.86 | 649.88 | BiggerInManyAuxChans | Unknown
659.31 | 1 | 659.3 | 659.32 | EX+15Vripple | Electronics
686.6615 | 1 | 686.634 | 686.689 | Violin | Wire
686.9176 | 1 | 686.896 | 686.939 | ViolinMode | Wire
688.0224 | 1 | 688 | 688.044 | Violin | Wire
688.2825 | 1 | 688.26 | 688.305 | ViolinMode | Wire
689.1301 | 1 | 689.108 | 689.152 | Violin | Wire
689.4262 | 1 | 689.404 | 689.449 | Violin | Wire
689.5036 | 1 | 689.482 | 689.525 | ViolinMode | Wire
689.7361 | 1 | 689.715 | 689.758 | ViolinMode | Wire
694.472 | 1 | 694.447 | 694.497 | Violin | Wire
694.7292 | 1 | 694.703 | 694.755 | ViolinMode | Wire
695.022 | 1 | 694.999 | 695.045 | ViolinMode | Wire
695.2091 | 1 | 695.185 | 695.233 | Violin | Wire
695.4274 | 1 | 695.404 | 695.451 | ViolinMode | Wire
695.4814 | 1 | 695.457 | 695.506 | ViolinMode | Wire
915.8 | 1 | 915.79 | 915.81 | adcuEXMagField | Electronics
960 | 1 | 959.99 | 960.01 | DuoTone | Timing
961 | 1 | 960.99 | 961.01 | DuoTone | Timing
995.5 | 1 | 995.49 | 995.51 | EX+15Vripple | Electronics
1009.7 | 1 | 1009.69 | 1009.71 | EX+15Vripple | Electronics
1030.55 | 1 | 1030.48 | 1030.66 | ViolinMode | Wire
1032.1925 | 1 | 1032.16 | 1032.23 | Violin | Wire
1032.5832 | 1 | 1032.56 | 1032.61 | ViolinMode | Wire
1033.78 | 1 | 1033.77 | 1033.79 | EX+15 | Electronics
1033.8766 | 1 | 1033.84 | 1033.92 | Violin | Wire
1034.3294 | 1 | 1034.3 | 1034.36 | Violin | Wire
1034.4549 | 1 | 1034.42 | 1034.49 | ViolinMode | Wire
1034.821 | 1 | 1034.78 | 1034.86 | ViolinMode | Wire
1042.25 | 1 | 1042.18 | 1042.32 | ViolinMode | Wire
1042.3785 | 1 | 1042.35 | 1042.41 | Violin | Wire
1042.8179 | 1 | 1042.8 | 1042.84 | ViolinMode | Wire
1043.0272 | 1 | 1042.99 | 1043.06 | Violin | Wire
1043.3351 | 1 | 1043.31 | 1043.36 | ViolinMode | Wire
1043.455 | 1 | 1043.38 | 1043.52 | ViolinMode | Wire
1144.3 | 1 | 1144.29 | 1144.31 | CalibLine | Calibration
1374.4509 | 1 | 1374.43 | 1374.47 | ViolinMode | Wire
1376.6139 | 1 | 1376.59 | 1376.64 | Violin | Wire
1377.1423 | 1 | 1377.12 | 1377.17 | ViolinMode | Wire
1378.7493 | 1 | 1378.72 | 1378.78 | Violin | Wire
1379.3999 | 1 | 1379.37 | 1379.43 | Violin | Wire
1379.5062 | 1 | 1379.48 | 1379.53 | ViolinMode | Wire
1380.0283 | 1 | 1380 | 1380.05 | ViolinMode | Wire
1390.0061 | 1 | 1389.98 | 1390.03 | ViolinMode | Wire
1390.6821 | 1 | 1390.66 | 1390.71 | ViolinMode | Wire
1391.424 | 1 | 1391.4 | 1391.45 | ViolinMode | Wire
1391.5967 | 1 | 1391.57 | 1391.62 | ViolinMode | Wire
1718.5697 | 1 | 1718.54 | 1718.6 | ViolinMode | Wire
1721.9155 | 1 | 1721.89 | 1721.94 | ViolinMode | Wire
1724.0104 | 1 | 1723.94 | 1724.08 | ViolinMode | Wire
1724.9704 | 1 | 1724.95 | 1725 | ViolinMode | Wire
1725.6181 | 1 | 1725.59 | 1725.64 | ViolinMode | Wire
1737.9391 | 1 | 1737.92 | 1737.96 | ViolinMode | Wire
1738.9907 | 1 | 1738.97 | 1739.01 | ViolinMode | Wire
1739.825 | 1 | 1739.8 | 1739.85 | ViolinMode | Wire
1740.028 | 1 | 1740 | 1740.05 | ViolinMode | Wire
L1 S5 List
54.7 | 1 | 54.6932 | 54.7068 | CalibLine | Calibration
59.0683 | 1 | 58.9749 | 59.1617 | MainsSide-1Hz | Pulsed-heating
59.3918 | 1 | 59.3146 | 59.469 | MainsSide-.6Hz | Pulsed-heating
59.7382 | 1 | 59.5942 | 59.8822 | MainsSide-.3Hz | Pulsed-heating
60.2731 | 1 | 60.1556 | 60.3906 | MainsSide+.3Hz | Pulsed-heating
60.5918 | 1 | 60.5284 | 60.6552 | MainsSide+.6Hz | Pulsed-heating
60.9497 | 1 | 60.8609 | 61.0385 | MainsSide+1Hz | Pulsed-heating
93.2903 | 1 | 93.2758 | 93.3048 | OpticalLeverA | Electronics
96.7082 | 1 | 96.6959 | 96.7205 | OpticalLeverB | Electronics
139.9387 | 1 | 139.92 | 139.958 | OpticalLeverA | Electronics
145.0622 | 1 | 145.047 | 145.078 | OpticalLeverB | Electronics
186.5874 | 1 | 186.565 | 186.61 | OpticalLeverA | Electronics
193.4164 | 1 | 193.395 | 193.437 | OpticalLeverB | Electronics
233.2314 | 1 | 233.185 | 233.277 | OpticalLeverA | Electronics
241.7774 | 1 | 241.713 | 241.842 | OpticalLeverB | Electronics
329.2339 | 2 | 329.216 | 329.252 | ViolinBS | Wire
329.3409 | 2 | 329.323 | 329.359 | ViolinBS | Wire
329.4025 | 2 | 329.379 | 329.426 | ViolinBS | Wire
335.276 | 1 | 335.256 | 335.296 | ViolinRM | Wire
335.41 | 1 | 335.386 | 335.434 | ViolinRM | Wire
335.595 | 1 | 335.57 | 335.62 | ViolinRM | Wire
335.777 | 1 | 335.752 | 335.802 | ViolinRM | Wire
342.9424 | 1 | 342.915 | 342.97 | ViolinSide | Wire
343.098 | 1 | 343.075 | 343.121 | ViolinMode | Wire
343.355 | 1 | 343.335 | 343.375 | Violin | Wire
343.4726 | 1 | 343.451 | 343.494 | ViolinMode | Wire
343.6231 | 1 | 343.6 | 343.647 | ViolinMode | Wire
344.266 | 1 | 344.246 | 344.286 | Violin | Wire
344.4132 | 1 | 344.392 | 344.434 | ViolinMode | Wire
346.6349 | 1 | 346.603 | 346.667 | ViolinMode | Wire
346.806 | 1 | 346.784 | 346.828 | ViolinSide | Wire
346.8727 | 1 | 346.85 | 346.896 | ViolinSide | Wire
346.9151 | 1 | 346.895 | 346.935 | ViolinMode | Wire
346.965 | 1 | 346.945 | 346.985 | ViolinMode | Wire
347.037 | 1 | 347.017 | 347.057 | ViolinMode | Wire
396.7 | 1 | 396.693 | 396.707 | CalibLine | Calibration
685.9147 | 1 | 685.893 | 685.937 | ViolinSide | Wire
686.2051 | 1 | 686.172 | 686.238 | ViolinMode | Wire
686.8158 | 1 | 686.792 | 686.84 | ViolinSide | Wire
687.0511 | 1 | 687.021 | 687.081 | ViolinMode | Wire
687.3246 | 1 | 687.301 | 687.348 | ViolinMode | Wire
688.8577 | 1 | 688.832 | 688.883 | ViolinMode | Wire
693.4187 | 1 | 693.392 | 693.445 | ViolinMode | Wire
693.6827 | 1 | 693.652 | 693.713 | ViolinSide | Wire
693.7638 | 1 | 693.74 | 693.788 | ViolinSide | Wire
693.9111 | 1 | 693.888 | 693.934 | ViolinMode | Wire
693.9834 | 1 | 693.958 | 694.008 | ViolinMode | Wire
694.0889 | 1 | 694.058 | 694.12 | ViolinMode | Wire
960 | 1 | 959.99 | 960.01 | DuoTone | Timing
961 | 1 | 960.99 | 961.01 | DuoTone | Timing
1029.5578 | 1 | 1029.53 | 1029.58 | ViolinMode | Wire
1030.7536 | 1 | 1030.73 | 1030.78 | ViolinMode | Wire
1031.1536 | 1 | 1031.13 | 1031.18 | ViolinMode | Wire
1033.5104 | 1 | 1033.49 | 1033.53 | ViolinMode | Wire
1040.3507 | 1 | 1040.33 | 1040.37 | ViolinMode | Wire
1040.694 | 1 | 1040.67 | 1040.72 | ViolinSide | Wire
1040.7343 | 1 | 1040.71 | 1040.76 | ViolinSide | Wire
1040.7859 | 1 | 1040.76 | 1040.81 | ViolinSide | Wire
1041.0204 | 1 | 1041 | 1041.04 | ViolinMode | Wire
1041.1701 | 1 | 1041.15 | 1041.19 | ViolinMode | Wire
1041.2731 | 1 | 1041.25 | 1041.29 | ViolinMode | Wire
1150.0661 | 1 | 1149.15 | 1150.98 | CalibSide | Calibration
1151.9118 | 1 | 1151.56 | 1152.26 | CalibLine | Calibration
1372.9742 | 1 | 1372.95 | 1373 | ViolinMode | Wire
1374.6601 | 1 | 1374.64 | 1374.68 | ViolinMode | Wire
1375.2021 | 1 | 1375.18 | 1375.23 | ViolinMode | Wire
1378.3695 | 1 | 1378.34 | 1378.39 | ViolinMode | Wire
1387.3946 | 1 | 1387.37 | 1387.42 | ViolinMode | Wire
1387.9327 | 1 | 1387.9 | 1387.96 | ViolinSide | Wire
1387.966 | 1 | 1387.92 | 1388.01 | ViolinSide | Wire
1388.0561 | 1 | 1388.03 | 1388.08 | ViolinSide | Wire
1388.385 | 1 | 1388.35 | 1388.42 | ViolinMode | Wire
1388.553 | 1 | 1388.53 | 1388.58 | ViolinMode | Wire
1388.7127 | 1 | 1388.69 | 1388.74 | ViolinMode | Wire
1716.8006 | 1 | 1716.77 | 1716.83 | ViolinMode | Wire
1718.8679 | 1 | 1718.84 | 1718.89 | ViolinMode | Wire
1719.548 | 1 | 1719.52 | 1719.57 | ViolinMode | Wire
1723.4861 | 1 | 1723.46 | 1723.51 | ViolinMode | Wire
1734.7999 | 1 | 1734.78 | 1734.82 | ViolinMode | Wire
1735.961 | 1 | 1735.94 | 1735.99 | ViolinMode | Wire
1736.1977 | 1 | 1736.16 | 1736.23 | ViolinMode | Wire
1736.4134 | 1 | 1736.39 | 1736.44 | ViolinMode | Wire
1920 | 1 | 1919.99 | 1920.01 | DuoTone | Timing
1921 | 1 | 1920.99 | 1921.01 | DuoTone | Timing
1922.0009 | 1 | 1921.98 | 1922.02 | DuoTone | Timing

## S5H1lines
f (Hz) | Amp | SNR | Identified?
40.5897 | 8.9298e-22 | 1.319
40.5997 | 8.9832e-22 | 1.328
40.6997 | 8.6415e-22 | 1.288
45.4497 | 1.0918e-21 | 2.3504
45.4597 | 1.1905e-21 | 2.5647
45.4697 | 1.1093e-21 | 2.3915
46.6997 | 8.6117e-22 | 2.0281 | Cal1
47.1797 | 4.3631e-22 | 1.0628
47.1997 | 4.3294e-22 | 1.0561
47.9997 | 3.9992e-22 | 1.0311
51.7597 | 3.5624e-22 | 1.1759
51.7697 | 3.7712e-22 | 1.2457
51.7797 | 3.7182e-22 | 1.2289
52.7797 | 3.102e-22 | 1.091
52.7897 | 3.1778e-22 | 1.1184
52.7997 | 3.0353e-22 | 1.0689
53.9997 | 2.8618e-22 | 1.0839
56.9997 | 2.8181e-22 | 1.2697
57.0097 | 2.5607e-22 | 1.1544
58.5897 | 2.2073e-22 | 1.0854 | PL1
58.9897 | 2.5822e-22 | 1.2974 | PL1
58.9997 | 2.5847e-22 | 1.2993 | PL1
59.9997 | 2.4848e-20 | 131.7102 | PL1
60.9997 | 1.9618e-22 | 1.0952 | PL1
61.0097 | 1.9898e-22 | 1.1114 | PL1
61.0197 | 1.9519e-22 | 1.0908 | PL1
62.9997 | 1.9933e-22 | 1.2302 | PL1
63.0097 | 1.8512e-22 | 1.1431 | PL1
65.9997 | 1.5252e-22 | 1.0855
66.0097 | 1.4779e-22 | 1.0523
78.5297 | 9.8217e-23 | 1.1543
78.5397 | 9.942e-23 | 1.1689
78.5497 | 9.6718e-23 | 1.1375
78.6297 | 1.0597e-22 | 1.2498
78.6397 | 1.047e-22 | 1.2352
78.8997 | 9.2753e-23 | 1.1041
78.9997 | 9.7191e-23 | 1.1609
79.0097 | 1.0035e-22 | 1.199
79.0297 | 1.0485e-22 | 1.2536
79.0397 | 1.0376e-22 | 1.2411
80.3697 | 9.2019e-23 | 1.1508
80.3797 | 9.2791e-23 | 1.1608
83.2797 | 9.7111e-23 | 1.3324
83.5597 | 9.195e-23 | 1.2724
83.5697 | 9.3475e-23 | 1.2939
83.5797 | 9.4179e-23 | 1.304
83.5897 | 9.3817e-23 | 1.2994
83.6097 | 9.1116e-23 | 1.2628
85.9697 | 8.2398e-23 | 1.2244
85.9897 | 8.4044e-23 | 1.2496
85.9997 | 8.3976e-23 | 1.2489
86.0097 | 8.2887e-23 | 1.2331
86.0197 | 8.068e-23 | 1.2006
87.4897 | 9.618e-23 | 1.4915
87.5097 | 1.0149e-22 | 1.5747
87.5197 | 1.0178e-22 | 1.5797
87.5297 | 9.9875e-23 | 1.5506
87.5397 | 9.5863e-23 | 1.4887
108.8497 | 4.3824e-23 | 1.0544
114.2397 | 4.3213e-23 | 1.1158
114.2497 | 4.3242e-23 | 1.1167
114.2597 | 4.2661e-23 | 1.1018
118.5597 | 4.3365e-23 | 1.1738 | PL2
118.5697 | 4.3331e-23 | 1.173 | PL2
118.9797 | 4.9327e-23 | 1.3408 | PL2
118.9897 | 5.0056e-23 | 1.3607 | PL2
118.9997 | 5.0173e-23 | 1.3641 | PL2
119.0097 | 4.9863e-23 | 1.3558 | PL2
119.2397 | 4.4341e-23 | 1.2084 | PL2
119.2597 | 4.4214e-23 | 1.2051 | PL2
119.9897 | 1.4909e-22 | 4.0921 | PL2
119.9997 | 1.7644e-22 | 4.8435 | PL2
120.0097 | 1.526e-22 | 4.1894 | PL2
120.7397 | 4.3577e-23 | 1.2045 | PL2
120.9997 | 4.8174e-23 | 1.3347 | PL2
121.0097 | 4.8262e-23 | 1.3373 | PL2
121.0197 | 4.7828e-23 | 1.3254 | PL2
121.1997 | 4.1366e-23 | 1.1482 | PL2
121.2097 | 4.1308e-23 | 1.1466 | PL2
121.4197 | 4.1682e-23 | 1.1592 | PL2
167.9897 | 3.3399e-23 | 1.0682
168.0097 | 3.3282e-23 | 1.0644
177.6897 | 3.4603e-23 | 1.0949
177.7097 | 3.4953e-23 | 1.106
177.8697 | 3.9555e-23 | 1.2513
177.8897 | 3.9814e-23 | 1.2595
178.5997 | 3.8236e-23 | 1.2083 | PL3
178.9697 | 5.0062e-23 | 1.5811 | PL3
178.9797 | 5.1618e-23 | 1.6302 | PL3
178.9897 | 5.251e-23 | 1.6584 | PL3
178.9997 | 5.2771e-23 | 1.6665 | PL3
179.0097 | 5.242e-23 | 1.6555 | PL3
179.8097 | 3.6894e-23 | 1.1637 | PL3
179.8197 | 3.5973e-23 | 1.1346 | PL3
179.9897 | 2.1032e-22 | 6.6319 | PL3
179.9997 | 2.28e-22 | 7.1892 | PL3
180.0097 | 2.1163e-22 | 6.6729 | PL3
180.9797 | 5.0376e-23 | 1.5859 | PL3
180.9897 | 5.1133e-23 | 1.6097 | PL3
180.9997 | 5.1535e-23 | 1.6224 | PL3
181.0097 | 5.1285e-23 | 1.6144 | PL3
181.0197 | 5.0468e-23 | 1.5887 | PL3
181.4097 | 3.7332e-23 | 1.1744 | PL3
181.4297 | 3.7282e-23 | 1.1728 | PL3
182.1097 | 3.9971e-23 | 1.256
182.1397 | 3.9414e-23 | 1.2384
182.2997 | 3.4365e-23 | 1.0795
191.9997 | 3.5593e-23 | 1.097
238.9797 | 6.3225e-23 | 1.7188 | PL4
238.9997 | 6.4697e-23 | 1.7587 | PL4
239.9797 | 9.8137e-23 | 2.66 | PL4
239.9897 | 1.0485e-22 | 2.8419 | PL4
239.9997 | 1.0781e-22 | 2.9222 | PL4
240.0097 | 1.0588e-22 | 2.8698 | PL4
240.0197 | 9.9716e-23 | 2.7025 | PL4
240.0297 | 9.1597e-23 | 2.4824 | PL4
240.9697 | 6.2858e-23 | 1.6989 | PL4
240.9897 | 6.4544e-23 | 1.7443 | PL4
240.9997 | 6.4695e-23 | 1.7484 | PL4
241.0097 | 6.4358e-23 | 1.7392 | PL4
241.0197 | 6.3566e-23 | 1.7178 | PL4
298.9997 | 6.6012e-23 | 1.5091 | PL5
299.9697 | 8.5931e-23 | 1.9591 | PL5
299.9797 | 9.0408e-23 | 2.0611 | PL5
299.9897 | 9.3432e-23 | 2.13 | PL5
299.9997 | 9.4662e-23 | 2.158 | PL5
300.0097 | 9.3759e-23 | 2.1374 | PL5
300.0197 | 9.0803e-23 | 2.0699 | PL5
300.0297 | 8.6907e-23 | 1.9811 | PL5
301.0097 | 6.2871e-23 | 1.4293 | PL5
329.5097 | 1.7946e-22 | 3.7777 | BSV1
329.5797 | 4.4922e-22 | 9.4544 | BSV1
329.5897 | 5.6029e-22 | 11.7918 | BSV1
329.7697 | 3.8529e-22 | 8.1049 | BSV1
335.7197 | 8.0693e-23 | 1.6713 | Vio1
335.7397 | 9.481e-23 | 1.9636 | Vio1
335.8197 | 9.5638e-23 | 1.9803 | Vio1
343.2797 | 1.1545e-21 | 23.4523 | Vio1
343.2897 | 1.3154e-21 | 26.7191 | Vio1
343.4097 | 4.0059e-20 | 813.4687 | Vio1
343.9197 | 2.7363e-21 | 55.4927 | Vio1
343.9297 | 3.9304e-21 | 79.7068 | Vio1
344.0597 | 3.3516e-20 | 679.4739 | Vio1
344.5197 | 5.6251e-21 | 113.9035 | Vio1
344.7097 | 3.6622e-20 | 741.21 | Vio1
344.8297 | 4.2407e-20 | 858.0328 | Vio1
345.7097 | 2.3997e-22 | 4.8445 | Vio1
345.7197 | 2.4134e-22 | 4.8721 | Vio1
345.7297 | 2.3755e-22 | 4.7954 | Vio1
346.2997 | 2.3419e-22 | 4.7208 | Vio1
346.3097 | 2.3539e-22 | 4.7448 | Vio1
346.4997 | 2.6534e-22 | 5.3461 | Vio1
346.5097 | 2.668e-22 | 5.3753 | Vio1
347.1797 | 1.2157e-21 | 24.4524 | Vio1
347.1897 | 1.3193e-21 | 26.5351 | Vio1
347.3097 | 2.2283e-20 | 448.0323 | Vio1
347.3197 | 1.5274e-20 | 307.09 | Vio1
347.5097 | 4.6513e-20 | 934.7304 | Vio1
347.6797 | 2.0002e-20 | 401.7962 | Vio1
347.6897 | 2.5274e-20 | 507.6797 | Vio1
347.7197 | 4.4354e-20 | 890.8864 | Vio1
359.9697 | 9.5944e-23 | 1.8691 | PL6
359.9797 | 9.8664e-23 | 1.922 | PL6
359.9897 | 1.0058e-22 | 1.9593 | PL6
359.9997 | 1.017e-22 | 1.9811 | PL6
360.0097 | 1.0119e-22 | 1.9711 | PL6
360.0197 | 9.963e-23 | 1.9407 | PL6
393.0997 | 2.3673e-22 | 4.2622 | Cal2
419.9597 | 9.2079e-23 | 1.5612 | PL7
419.9797 | 9.6976e-23 | 1.6441 | PL7
419.9997 | 9.9077e-23 | 1.6796 | PL7
420.0197 | 9.7534e-23 | 1.6534 | PL7
420.0397 | 9.3164e-23 | 1.5793 | PL7
465.1297 | 6.745e-23 | 1.041
479.9797 | 9.5261e-23 | 1.428 | PL8
479.9997 | 9.6509e-23 | 1.4466 | PL8
480.0197 | 9.5794e-23 | 1.4358 | PL8
539.9797 | 1.1384e-22 | 1.5286 | PL9
545.9397 | 7.8537e-23 | 1.0437
546.0697 | 1.0559e-22 | 1.403
546.0797 | 9.6211e-23 | 1.2783
564.0697 | 1.0594e-22 | 1.3653
566.0997 | 1.0682e-22 | 1.3719
568.0997 | 1.1718e-22 | 1.5
600.0097 | 1.2517e-22 | 1.5216 | PL10
646.3897 | 1.2168e-22 | 1.3783
648.7597 | 9.2919e-23 | 1.0488
648.8397 | 1.0954e-22 | 1.2363
659.0697 | 9.8424e-23 | 1.0944 | BSV2
659.1897 | 1.5399e-22 | 1.712 | BSV2
659.1997 | 2.0303e-22 | 2.257 | BSV2
659.5197 | 1.2874e-22 | 1.4306 | BSV2
659.5297 | 1.3398e-22 | 1.4887 | BSV2
671.7297 | 9.8392e-23 | 1.0744
686.6497 | 2.1682e-22 | 2.3184 | Vio2
686.6597 | 2.5343e-22 | 2.7099 | Vio2
686.9097 | 9.3364e-21 | 99.7965 | Vio2
686.9197 | 7.0136e-21 | 74.9673 | Vio2
688.0197 | 1.3653e-21 | 14.5717 | Vio2
688.2797 | 9.146e-21 | 97.5757 | Vio2
689.1297 | 1.2932e-21 | 13.7803 | Vio2
689.4297 | 1.053e-21 | 11.2161 | Vio2
689.4997 | 5.68e-21 | 60.4956 | Vio2
689.5097 | 7.1848e-21 | 76.5214 | Vio2
689.7397 | 1.0469e-20 | 111.4699 | Vio2
694.4697 | 2.5878e-22 | 2.7373 | Vio2
694.4797 | 2.5952e-22 | 2.7451 | Vio2
694.7297 | 3.8467e-21 | 40.6754 | Vio2
694.7397 | 3.84e-21 | 40.6043 | Vio2
695.0197 | 6.9397e-21 | 73.3518 | Vio2
695.0297 | 7.3972e-21 | 78.1859 | Vio2
695.2097 | 6.4786e-22 | 6.846 | Vio2
695.4197 | 4.8161e-21 | 50.8772 | Vio2
695.4797 | 1.0767e-20 | 113.7377 | Vio2
930.2597 | 1.3422e-22 | 1.0719
988.8797 | 1.6708e-22 | 1.2577 | BSV3
989.4097 | 1.501e-22 | 1.1293 | BSV3
1030.1697 | 1.813e-22 | 1.3116 | Vio3
1030.5497 | 3.9899e-21 | 28.8552 | Vio3
1030.5597 | 3.3613e-21 | 24.3088 | Vio3
1032.1797 | 5.1582e-22 | 3.7247 | Vio3
1032.5797 | 3.9312e-21 | 28.3765 | Vio3
1033.8697 | 4.0299e-22 | 2.9053 | Vio3
1033.8797 | 5.9201e-22 | 4.2681 | Vio3
1034.3297 | 3.8633e-22 | 2.7841 | Vio3
1034.4397 | 2.4888e-21 | 17.9333 | Vio3
1034.4497 | 3.0581e-21 | 22.0357 | Vio3
1034.7997 | 4.568e-21 | 32.9043 | Vio3
1041.8597 | 1.6788e-22 | 1.2013 | Vio3
1041.8797 | 1.7098e-22 | 1.2235 | Vio3
1042.2497 | 1.1995e-21 | 8.5803 | Vio3
1042.2597 | 1.3483e-21 | 9.6449 | Vio3
1042.3797 | 2.4432e-22 | 1.7474 | Vio3
1042.3897 | 2.303e-22 | 1.6472 | Vio3
1042.8197 | 3.0539e-21 | 21.834 | Vio3
1042.8297 | 2.476e-21 | 17.7016 | Vio3
1043.0297 | 3.7132e-22 | 2.6542 | Vio3
1043.3297 | 2.6405e-21 | 18.8693 | Vio3
1043.3397 | 2.1933e-21 | 15.6731 | Vio3
1043.4497 | 5.0941e-21 | 36.3989 | Vio3
1092.1097 | 1.628e-22 | 1.1129
1092.1297 | 1.7236e-22 | 1.1782
1128.1497 | 1.7735e-22 | 1.1747
1132.2197 | 1.7035e-22 | 1.1243
1136.2297 | 1.7718e-22 | 1.1654
1141.9997 | 1.7081e-22 | 1.118
1142.0097 | 1.7835e-22 | 1.1673
1142.8697 | 1.8443e-22 | 1.2063
1142.8797 | 1.883e-22 | 1.2315
1142.8897 | 1.8855e-22 | 1.2332
1142.9097 | 1.7928e-22 | 1.1725
1143.0797 | 1.823e-22 | 1.1921
1143.0897 | 1.8325e-22 | 1.1983
1143.2797 | 2.3e-22 | 1.5037
1143.2897 | 2.395e-22 | 1.5658
1143.5697 | 1.8876e-22 | 1.2338
1144.2997 | 6.2832e-21 | 41.0445 | Cal3
1145.0297 | 1.8814e-22 | 1.2282
1145.3097 | 2.3852e-22 | 1.5567
1145.3197 | 2.3013e-22 | 1.502
1145.5097 | 1.8282e-22 | 1.193
1145.5197 | 1.8243e-22 | 1.1905
1145.6897 | 1.7901e-22 | 1.168
1145.7097 | 1.8796e-22 | 1.2263
1145.7197 | 1.8858e-22 | 1.2304
1145.7297 | 1.8489e-22 | 1.2063
1146.5897 | 1.7466e-22 | 1.1387
1146.5997 | 1.7508e-22 | 1.1414
1292.7697 | 1.9088e-22 | 1.1071
1297.6597 | 1.8552e-22 | 1.072
1318.6897 | 1.9019e-22 | 1.0819
1374.4397 | 2.3397e-21 | 12.7814 | Vio4
1374.4497 | 1.7036e-21 | 9.3068 | Vio4
1376.6097 | 3.5702e-22 | 1.9474 | Vio4
1377.1297 | 1.3452e-21 | 7.3346 | Vio4
1377.1397 | 1.9245e-21 | 10.4935 | Vio4
1378.7497 | 3.5393e-22 | 1.9276 | Vio4
1379.3997 | 3.3845e-22 | 1.8425 | Vio4
1379.4997 | 1.2115e-21 | 6.5949 | Vio4
1379.5097 | 1.7993e-21 | 9.7939 | Vio4
1380.0297 | 2.4917e-21 | 13.5581 | Vio4
1389.4897 | 1.9284e-22 | 1.0423 | Vio4
1390.0097 | 6.4867e-22 | 3.5048 | Vio4
1390.0197 | 6.6415e-22 | 3.5885 | Vio4
1390.6897 | 1.4742e-21 | 7.9616 | Vio4
1390.6997 | 1.0459e-21 | 5.6484 | Vio4
1391.0397 | 2.2843e-22 | 1.2333 | Vio4
1391.4197 | 1.6257e-21 | 8.7753 | Vio4
1391.5897 | 2.399e-21 | 12.9478 | Vio4
1391.5997 | 1.9032e-21 | 10.2715 | Vio4
1395.3797 | 1.9387e-22 | 1.0435
1605.6997 | 2.2727e-22 | 1.0662 | CalP1
1609.6997 | 2.3473e-22 | 1.0985 | CalP2
1638.2097 | 2.2664e-22 | 1.0425
1692.2297 | 2.3238e-22 | 1.0354
1704.3597 | 2.3767e-22 | 1.0516
1718.5597 | 1.5755e-21 | 6.9141 | Vio5
1721.2397 | 2.6842e-22 | 1.1762 | Vio5
1721.2497 | 2.5953e-22 | 1.1372 | Vio5
1721.9097 | 1.289e-21 | 5.6462 | Vio5
1724.0097 | 3.1241e-22 | 1.3668 | Vio5
1724.8297 | 2.5241e-22 | 1.1038 | Vio5
1724.9697 | 1.0973e-21 | 4.7982 | Vio5
1724.9797 | 7.9916e-22 | 3.4944 | Vio5
1725.6197 | 1.5232e-21 | 6.658 | Vio5
1737.9397 | 4.5298e-22 | 1.9662 | Vio5
1737.9497 | 4.5507e-22 | 1.9752 | Vio5
1737.9597 | 4.2725e-22 | 1.8545 | Vio5
1737.9697 | 3.6769e-22 | 1.5959 | Vio5
1738.9897 | 7.1781e-22 | 3.1138 | Vio5
1738.9997 | 8.7368e-22 | 3.7899 | Vio5
1739.0097 | 7.0637e-22 | 3.0641 | Vio5
1739.3197 | 2.5772e-22 | 1.1177 | Vio5
1739.8197 | 1.0074e-21 | 4.3678 | Vio5
1739.8297 | 7.4338e-22 | 3.2232 | Vio5
1740.0197 | 1.4379e-21 | 6.2338 | Vio5
1740.0297 | 1.2957e-21 | 5.6176 | Vio5
1860.5097 | 2.9242e-22 | 1.187
1918.6497 | 2.6237e-22 | 1.0333
1920.9997 | 2.6563e-22 | 1.0449
1939.1897 | 2.6586e-22 | 1.0361
1976.7997 | 2.7654e-22 | 1.0575

## S5H2lines
f (Hz) | Amp | SNR | Identified?
41.9397 | 3.6118e-21 | 2.4597
41.9497 | 3.6357e-21 | 2.4779
41.9597 | 3.55e-21 | 2.4214
44.9997 | 2.428e-21 | 2.0893
46.1897 | 3.2711e-21 | 3.0686
46.1997 | 3.2535e-21 | 3.0542
46.9397 | 2.7259e-21 | 2.6968
47.6497 | 2.1113e-21 | 2.1946
47.9297 | 1.9954e-21 | 2.1145
47.9397 | 1.9879e-21 | 2.108
49.5897 | 1.4435e-21 | 1.7105
49.6197 | 1.4348e-21 | 1.7035
52.4997 | 1.0172e-21 | 1.4514
52.8197 | 1.0912e-21 | 1.588
52.8397 | 1.132e-21 | 1.6494
52.8797 | 1.0987e-21 | 1.6049
53.7397 | 8.8276e-22 | 1.3585
53.9597 | 1.0086e-21 | 1.5728
53.9697 | 1.0073e-21 | 1.5716
53.9797 | 9.9292e-22 | 1.5502
53.9897 | 9.6797e-22 | 1.5122
54.0997 | 1.5068e-21 | 2.3694 | Cal1
56.9997 | 6.3034e-22 | 1.172
58.5897 | 6.2121e-22 | 1.2605
58.5997 | 6.3436e-22 | 1.2879
58.6097 | 6.3852e-22 | 1.297
58.9797 | 7.8709e-22 | 1.631
58.9897 | 7.8176e-22 | 1.6208
59.1197 | 8.9965e-22 | 1.8783 | PL1
59.1297 | 9.0783e-22 | 1.8963 | PL1
59.1397 | 9.0646e-22 | 1.8945 | PL1
59.1597 | 8.8878e-22 | 1.8595 | PL1
59.1697 | 8.7051e-22 | 1.8223 | PL1
59.9997 | 4.2003e-20 | 91.8745 | PL1
60.0097 | 2.8612e-20 | 62.6168 | PL1
60.3597 | 1.0219e-21 | 2.2776 | PL1
60.3697 | 9.9425e-22 | 2.2172 | PL1
60.7297 | 5.149e-22 | 1.1698 | PL1
60.7397 | 5.1775e-22 | 1.1769 | PL1
61.0097 | 5.9651e-22 | 1.3749 | PL1
61.0197 | 6.0807e-22 | 1.4023 | PL1
61.0297 | 5.7841e-22 | 1.3346 | PL1
61.3997 | 5.3823e-22 | 1.2656 | PL1
61.4097 | 5.3974e-22 | 1.2698 | PL1
61.4197 | 5.3403e-22 | 1.257 | PL1
61.4297 | 5.1808e-22 | 1.2201 | PL1
62.3797 | 4.3892e-22 | 1.0843
62.9997 | 4.1557e-22 | 1.0586
65.8997 | 3.592e-22 | 1.0506
65.9097 | 3.6169e-22 | 1.0584
65.9197 | 3.5912e-22 | 1.0514
66.8997 | 3.7389e-22 | 1.1448
67.1897 | 5.5779e-22 | 1.7303
67.1997 | 5.8141e-22 | 1.8044
67.2097 | 5.9924e-22 | 1.8606
67.2197 | 6.0788e-22 | 1.8883
67.2297 | 6.0343e-22 | 1.8753
67.2397 | 5.9048e-22 | 1.8359
67.2497 | 5.6971e-22 | 1.7721
69.5397 | 3.2358e-22 | 1.1127
71.8997 | 2.9388e-22 | 1.115
71.9097 | 2.9318e-22 | 1.1128
73.3297 | 3.8791e-22 | 1.5583
73.3397 | 3.9344e-22 | 1.5812
73.3497 | 3.9536e-22 | 1.5895
73.3597 | 3.9062e-22 | 1.5711
77.6097 | 2.2572e-22 | 1.0649
77.8797 | 2.2662e-22 | 1.0795
77.8897 | 2.2752e-22 | 1.0842
77.8997 | 2.2699e-22 | 1.082
78.3797 | 2.0708e-22 | 1.004
83.8797 | 1.7253e-22 | 1.0034
83.8897 | 1.7243e-22 | 1.0032
84.3297 | 2.4513e-22 | 1.4456
84.3397 | 2.5119e-22 | 1.4818
84.3497 | 2.5152e-22 | 1.4842
84.3597 | 2.4383e-22 | 1.4392
85.7697 | 1.797e-22 | 1.1068
86.4997 | 1.6291e-22 | 1.0252
86.9997 | 2.1479e-22 | 1.3714
87.0097 | 2.1672e-22 | 1.3841
87.0197 | 2.1508e-22 | 1.374
87.0297 | 2.1096e-22 | 1.3481
87.0397 | 2.0427e-22 | 1.3057
87.3897 | 1.7439e-22 | 1.1259
87.4197 | 1.738e-22 | 1.1231
87.7397 | 1.5481e-22 | 1.0095
89.8597 | 1.5623e-22 | 1.0801
90.0497 | 1.6909e-22 | 1.175
90.0697 | 1.6793e-22 | 1.1676
95.8797 | 1.3931e-22 | 1.1191
97.6197 | 1.1537e-22 | 0.9639
99.9997 | 1.1207e-22 | 0.9852
104.5797 | 1.1568e-22 | 1.1115
104.5897 | 1.1585e-22 | 1.1134
108.2797 | 1.2299e-22 | 1.2598
108.3097 | 1.197e-22 | 1.2266
113.6197 | 9.3577e-23 | 1.0391
118.7997 | 1.1188e-22 | 1.3279 | PL2
118.9897 | 1.06e-22 | 1.2609 | PL2
119.8697 | 3.6731e-22 | 4.4141 | PL2
119.9897 | 9.1212e-22 | 10.9762 | PL2
119.9997 | 1.0956e-21 | 13.1858 | PL2
120.0097 | 9.1857e-22 | 11.0564 | PL2
121.0097 | 1.0273e-22 | 1.2504 | PL2
121.1997 | 1.0966e-22 | 1.3375 | PL2
121.2097 | 1.1021e-22 | 1.3443 | PL2
121.2297 | 1.0935e-22 | 1.3342 | PL2
122.6197 | 9.69e-23 | 1.1999
122.6497 | 9.5711e-23 | 1.1855
123.8597 | 8.5823e-23 | 1.0762
127.9997 | 8.2104e-23 | 1.0699
178.5797 | 8.8459e-23 | 1.3618 | PL3
178.5897 | 8.9864e-23 | 1.3834 | PL3
178.5997 | 9.0424e-23 | 1.3921 | PL3
178.6197 | 8.8704e-23 | 1.3656 | PL3
178.9797 | 8.225e-23 | 1.2662 | PL3
178.9897 | 8.1908e-23 | 1.2609 | PL3
179.2697 | 7.8779e-23 | 1.2127 | PL3
179.2797 | 7.8614e-23 | 1.2102 | PL3
179.8097 | 1.465e-22 | 2.2551 | PL3
179.9897 | 2.0654e-21 | 31.7917 | PL3
179.9997 | 2.3213e-21 | 35.7314 | PL3
180.0097 | 1.9996e-21 | 30.7797 | PL3
180.9997 | 8.6157e-23 | 1.326 | PL3
181.0097 | 8.7201e-23 | 1.342 | PL3
181.0197 | 8.7648e-23 | 1.3489 | PL3
181.0297 | 8.7297e-23 | 1.3435 | PL3
181.3797 | 9.3609e-23 | 1.4405 | PL3
181.3897 | 9.5899e-23 | 1.4758 | PL3
181.3997 | 9.7157e-23 | 1.4951 | PL3
181.4097 | 9.6932e-23 | 1.4916 | PL3
181.4197 | 9.5375e-23 | 1.4677 | PL3
181.4297 | 9.2922e-23 | 1.4299 | PL3
239.7497 | 9.7879e-23 | 1.3848 | PL4
239.9797 | 2.1364e-22 | 3.0211 | PL4
239.9897 | 2.3345e-22 | 3.3012 | PL4
239.9997 | 2.4217e-22 | 3.4244 | PL4
240.0097 | 2.3556e-22 | 3.3309 | PL4
240.0197 | 2.1789e-22 | 3.081 | PL4
299.6797 | 8.6274e-23 | 1.0686 | PL5
299.9797 | 3.8761e-22 | 4.7979 | PL5
299.9897 | 4.2104e-22 | 5.2116 | PL5
299.9997 | 4.3358e-22 | 5.3667 | PL5
300.0097 | 4.2144e-22 | 5.2163 | PL5
300.0197 | 3.8908e-22 | 4.8157 | PL5
300.0297 | 3.5046e-22 | 4.3376 | PL5
329.5797 | 1.471e-22 | 1.7052 | BSV1
329.6597 | 4.4639e-22 | 5.1735 | BSV1
329.6797 | 8.6889e-22 | 10.0697 | BSV1
329.7797 | 2.1108e-21 | 24.4568 | BSV1
334.9897 | 1.4506e-22 | 1.6619
335.1097 | 3.2792e-22 | 3.7557 | Vio1
335.4397 | 1.4263e-22 | 1.6324
335.4497 | 1.4524e-22 | 1.6622
335.5897 | 3.2101e-22 | 3.6727 | Vio1
341.2597 | 3.2636e-22 | 3.6885 | Vio1
342.3997 | 6.8027e-22 | 7.6696 | Vio1
342.4197 | 6.9808e-22 | 7.8701 | Vio1
342.6597 | 8.2978e-22 | 9.35 | Vio1
343.3897 | 1.5233e-21 | 17.1383 | Vio1
343.5497 | 2.815e-21 | 31.659 | Vio1
343.5797 | 3.3619e-21 | 37.8073 | Vio1
343.5897 | 3.4271e-21 | 38.5394 | Vio1
343.6797 | 1.06e-20 | 119.1783 | Vio1
343.7097 | 1.0789e-20 | 121.2924 | Vio1
343.7297 | 1.3127e-20 | 147.5731 | Vio1
343.7397 | 1.2213e-20 | 137.3018 | Vio1
343.8097 | 7.8948e-20 | 887.3956 | Vio1
343.9097 | 6.3146e-21 | 70.9627 | Vio1
344.0497 | 7.0467e-20 | 791.6594 | Vio1
344.0697 | 3.5239e-20 | 395.8752 | Vio1
344.0797 | 3.3052e-20 | 371.2964 | Vio1
344.4097 | 1.864e-21 | 20.9248 | Vio1
344.4297 | 1.6931e-21 | 19.0059 | Vio1
344.4397 | 1.6837e-21 | 18.8993 | Vio1
345.2097 | 7.3797e-22 | 8.2702 | Vio1
345.4597 | 6.9972e-22 | 7.8373 | Vio1
345.4797 | 6.8514e-22 | 7.6737 | Vio1
347.5097 | 4.3326e-22 | 4.8316 | Vio1
347.5297 | 4.3247e-22 | 4.8226 | Vio1
347.7797 | 4.8204e-22 | 5.3726 | Vio1
347.7997 | 4.9677e-22 | 5.5365 | Vio1
348.0297 | 5.1662e-22 | 5.7548 | Vio1
348.0497 | 5.293e-22 | 5.8958 | Vio1
348.7797 | 1.0523e-20 | 117.0289 | Vio1
348.9197 | 6.437e-20 | 715.6882 | Vio1
349.1897 | 8.8134e-20 | 979.3451 | Vio1
349.1997 | 5.8805e-20 | 653.4241 | Vio1
349.4397 | 7.1315e-20 | 792.024 | Vio1
350.5797 | 4.9447e-22 | 5.4783 | Vio1
350.5897 | 5.0104e-22 | 5.551 | Vio1
350.6097 | 4.8525e-22 | 5.3758 | Vio1
350.8297 | 4.133e-22 | 4.5766 | Vio1
350.8397 | 4.1702e-22 | 4.6178 | Vio1
350.8497 | 4.1021e-22 | 4.5422 | Vio1
350.8597 | 3.9958e-22 | 4.4244 | Vio1
351.9897 | 2.8923e-22 | 3.1949 | Vio1
352.0097 | 2.8591e-22 | 3.1581 | Vio1
352.2297 | 2.6469e-22 | 2.9223 | Vio1
352.2497 | 2.6303e-22 | 2.9038 | Vio1
359.9797 | 1.6709e-22 | 1.8149 | PL6
359.9997 | 1.6977e-22 | 1.8439 | PL6
360.0097 | 1.691e-22 | 1.8366 | PL6
360.0197 | 1.6697e-22 | 1.8135 | PL6
404.4897 | 1.1061e-22 | 1.0981
405.8797 | 1.2209e-22 | 1.2088
405.8897 | 1.273e-22 | 1.2603
405.9097 | 1.2783e-22 | 1.2656
406.2797 | 1.0807e-22 | 1.0692
407.2997 | 2.2148e-22 | 2.1868 | Cal2
408.3197 | 1.0849e-22 | 1.069
408.6897 | 1.2754e-22 | 1.2559
408.6997 | 1.2837e-22 | 1.264
408.7097 | 1.2833e-22 | 1.2636
408.7197 | 1.2311e-22 | 1.2122
410.0897 | 1.1197e-22 | 1.0996
410.0997 | 1.1194e-22 | 1.0993
419.9797 | 1.3267e-22 | 1.2784 | PL7
419.9997 | 1.3399e-22 | 1.2911 | PL7
420.0297 | 1.3171e-22 | 1.269 | PL7
645.0897 | 4.2769e-22 | 2.875
645.2497 | 2.556e-22 | 1.7178
646.1397 | 2.9702e-22 | 1.9937
646.5097 | 3.1692e-22 | 2.1263
646.5197 | 2.8261e-22 | 1.8961
648.1697 | 2.0644e-22 | 1.3819
648.2397 | 5.1134e-22 | 3.4227
659.3397 | 3.2341e-22 | 2.1329 | BSV2
659.5397 | 4.7817e-22 | 3.1527 | BSV2
659.5497 | 4.0213e-22 | 2.6513 | BSV2
670.2597 | 1.8445e-22 | 1.1991
670.2697 | 2.0311e-22 | 1.3204
671.2497 | 1.8654e-22 | 1.2111
671.2597 | 2.0082e-22 | 1.3038
687.0297 | 7.7647e-22 | 4.9394 | Vio2
687.1097 | 8.8033e-22 | 5.5995 | Vio2
687.3597 | 2.0086e-21 | 12.772 | Vio2
687.3897 | 2.8769e-21 | 18.2922 | Vio2
687.4097 | 2.5402e-21 | 16.1515 | Vio2
687.4297 | 2.1704e-21 | 13.7995 | Vio2
687.6597 | 1.3805e-20 | 87.7504 | Vio2
687.6697 | 1.4204e-20 | 90.2799 | Vio2
687.8897 | 1.6703e-21 | 10.6133 | Vio2
688.1697 | 1.4797e-20 | 93.9903 | Vio2
688.1797 | 2.0521e-20 | 130.3464 | Vio2
688.2097 | 5.8787e-21 | 37.3397 | Vio2
688.8697 | 3.8815e-22 | 2.4634 | Vio2
688.8797 | 4.1071e-22 | 2.6065 | Vio2
688.8997 | 4.0573e-22 | 2.5748 | Vio2
688.9097 | 4.4592e-22 | 2.8298 | Vio2
689.5697 | 2.4245e-22 | 1.5373 | Vio2
696.4597 | 1.9687e-22 | 1.2374 | Vio2
696.4697 | 1.9714e-22 | 1.2391 | Vio2
697.0297 | 2.1616e-22 | 1.3577 | Vio2
697.0497 | 2.1882e-22 | 1.3743 | Vio2
697.5897 | 1.7862e-21 | 11.211 | Vio2
697.8697 | 1.5248e-20 | 95.6706 | Vio2
698.1297 | 1.0478e-21 | 6.5721 | Vio2
698.4397 | 2.4123e-20 | 151.2433 | Vio2
698.5497 | 1.2859e-20 | 80.6138 | Vio2
698.6297 | 2.1493e-21 | 13.4721 | Vio2
698.9397 | 1.5864e-20 | 99.4024 | Vio2
699.8297 | 2.3145e-22 | 1.4486
699.8397 | 2.318e-22 | 1.4508
699.8497 | 2.3027e-22 | 1.4411
700.3397 | 2.0271e-22 | 1.2679
911.5697 | 2.1159e-22 | 1.0452
989.1097 | 2.8162e-22 | 1.2914 | BSV3
989.4297 | 3.282e-22 | 1.5045 | BSV3
999.9997 | 2.5281e-22 | 1.1477
1005.5497 | 2.564e-22 | 1.1581
1007.0197 | 2.5816e-22 | 1.1645
1023.9997 | 2.5059e-22 | 1.1131
1030.5597 | 2.5779e-22 | 1.1385 | Vio3
1030.7397 | 3.4953e-22 | 1.5433 | Vio3
1030.8597 | 3.3431e-22 | 1.476 | Vio3
1031.2097 | 1.138e-21 | 5.0226 | Vio3
1031.2697 | 6.6284e-22 | 2.9254 | Vio3
1031.2797 | 6.7083e-22 | 2.9606 | Vio3
1031.2897 | 6.6971e-22 | 2.9557 | Vio3
1031.2997 | 6.5886e-22 | 2.9077 | Vio3
1031.3097 | 6.3737e-22 | 2.8129 | Vio3
1031.6197 | 8.7764e-21 | 38.722 | Vio3
1032.0097 | 6.1065e-22 | 2.6933 | Vio3
1032.4297 | 8.6964e-21 | 38.3413 | Vio3
1032.4997 | 1.682e-21 | 7.4152 | Vio3
1032.5097 | 1.6993e-21 | 7.4915 | Vio3
1032.5297 | 1.2486e-21 | 5.5044 | Vio3
1033.4997 | 2.5933e-22 | 1.1423 | Vio3
1033.5697 | 3.7336e-22 | 1.6444 | Vio3
1046.5697 | 7.198e-22 | 3.1341 | Vio3
1046.5797 | 5.827e-22 | 2.5371 | Vio3
1046.9997 | 5.3606e-21 | 23.3319 | Vio3
1047.5997 | 4.0581e-22 | 1.7653 | Vio3
1047.8197 | 1.0969e-20 | 47.7074 | Vio3
1047.9997 | 3.1605e-21 | 13.7438 | Vio3
1048.0097 | 5.0398e-21 | 21.9164 | Vio3
1048.0997 | 6.9736e-22 | 3.0323 | Vio3
1048.1097 | 9.3397e-22 | 4.0611 | Vio3
1048.5797 | 6.634e-21 | 28.8343 | Vio3
1048.5897 | 5.1181e-21 | 22.2455 | Vio3
1156.8797 | 3.0331e-22 | 1.204
1156.8897 | 3.0952e-22 | 1.2287
1156.8997 | 3.129e-22 | 1.242
1156.9097 | 3.1266e-22 | 1.2411
1158.2797 | 3.729e-22 | 1.4786
1158.2897 | 4.0045e-22 | 1.5878
1158.3097 | 4.0138e-22 | 1.5915
1158.6797 | 2.9774e-22 | 1.1802
1158.6897 | 2.9218e-22 | 1.1581
1158.9597 | 2.8481e-22 | 1.1287
1158.9697 | 2.8908e-22 | 1.1456
1159.6997 | 2.484e-21 | 9.8383 | Cal3
1160.4297 | 2.8828e-22 | 1.1411
1160.4397 | 2.8609e-22 | 1.1324
1160.7097 | 2.9227e-22 | 1.1566
1160.7197 | 2.9849e-22 | 1.1813
1161.0897 | 4.0148e-22 | 1.5883
1161.0997 | 4.0457e-22 | 1.6006
1161.1097 | 4.0181e-22 | 1.5896
1161.1197 | 3.7699e-22 | 1.4914
1162.4797 | 3.0926e-22 | 1.2222
1162.4897 | 3.1371e-22 | 1.2397
1162.4997 | 3.1444e-22 | 1.2426
1162.5097 | 3.1166e-22 | 1.2316
1162.5197 | 3.0496e-22 | 1.2051
1290.1797 | 3.599e-22 | 1.2908
1290.5397 | 3.1873e-22 | 1.1429
1292.2997 | 3.778e-22 | 1.353
1293.0397 | 4.1258e-22 | 1.4767
1296.3897 | 2.9943e-22 | 1.0692
1296.4897 | 3.9193e-22 | 1.3993
1296.5697 | 3.1873e-22 | 1.1379
1319.0097 | 2.9502e-22 | 1.0365
1319.0197 | 2.9855e-22 | 1.0489
1319.4097 | 3.0671e-22 | 1.0773
1319.4197 | 3.0527e-22 | 1.0722
1374.6997 | 3.868e-22 | 1.3074
1374.8597 | 3.5847e-22 | 1.2115 | Vio4
1375.3397 | 5.5643e-22 | 1.8799 | Vio4
1375.3597 | 4.9906e-22 | 1.686 | Vio4
1375.4697 | 4.426e-22 | 1.4952 | Vio4
1375.4797 | 4.4513e-22 | 1.5037 | Vio4
1375.4997 | 4.6728e-22 | 1.5785 | Vio4
1375.5197 | 4.1902e-22 | 1.4155 | Vio4
1375.8797 | 3.2441e-21 | 10.956 | Vio4
1375.8897 | 4.2501e-21 | 14.3535 | Vio4
1376.3397 | 4.305e-22 | 1.4535 | Vio4
1376.3497 | 4.2029e-22 | 1.419 | Vio4
1376.9097 | 3.4439e-21 | 11.6228 | Vio4
1376.9197 | 3.8004e-21 | 12.8257 | Vio4
1376.9997 | 8.573e-22 | 2.8931 | Vio4
1377.0097 | 8.7391e-22 | 2.9491 | Vio4
1377.0197 | 8.4432e-22 | 2.8493 | Vio4
1377.0397 | 7.3906e-22 | 2.494 | Vio4
1378.4297 | 3.0993e-22 | 1.0449 | Vio4
1395.7397 | 4.6968e-22 | 1.565 | Vio4
1395.7497 | 4.4415e-22 | 1.48 | Vio4
1396.3097 | 2.2303e-21 | 7.4288 | Vio4
1396.3197 | 2.3276e-21 | 7.7528 | Vio4
1396.8097 | 3.5359e-22 | 1.1774 | Vio4
1396.8197 | 3.6725e-22 | 1.2228 | Vio4
1397.4497 | 5.6256e-21 | 18.7238 | Vio4
1397.5897 | 1.8353e-21 | 6.1077 | Vio4
1397.5997 | 2.6544e-21 | 8.8339 | Vio4
1397.7997 | 5.4319e-22 | 1.8075 | Vio4
1398.4297 | 3.7388e-21 | 12.4359 | Vio4
1503.5097 | 3.3563e-22 | 1.0428
1503.7797 | 3.3427e-22 | 1.0384
1508.8897 | 3.4027e-22 | 1.0537
1509.1397 | 3.3582e-22 | 1.0397
1542.6497 | 3.4262e-22 | 1.039
1622.8997 | 4.4051e-22 | 1.2734 | CalP1
1626.6997 | 3.7902e-22 | 1.0932 | CalP2
1718.9397 | 4.1469e-22 | 1.1352 | Vio5
1718.9497 | 4.2387e-22 | 1.1603 | Vio5
1719.1397 | 3.978e-22 | 1.0888 | Vio5
1719.1497 | 3.9876e-22 | 1.0914 | Vio5
1719.6797 | 4.8037e-22 | 1.3144 | Vio5
1719.7797 | 5.4795e-22 | 1.4992 | Vio5
1719.7897 | 5.4641e-22 | 1.495 | Vio5
1719.9597 | 5.1723e-22 | 1.415 | Vio5
1720.3797 | 2.9749e-21 | 8.1367 | Vio5
1720.9997 | 4.07e-22 | 1.1128 | Vio5
1721.6997 | 1.8503e-21 | 5.0573 | Vio5
1721.7097 | 2.7467e-21 | 7.5071 | Vio5
1721.8197 | 6.2356e-22 | 1.7042 | Vio5
1721.8297 | 5.8488e-22 | 1.5985 | Vio5
1745.1897 | 4.5708e-22 | 1.2333 | Vio5
1745.2097 | 4.4701e-22 | 1.2061 | Vio5
1745.9197 | 1.3327e-21 | 3.5945 | Vio5
1745.9297 | 1.4786e-21 | 3.9881 | Vio5
1747.3097 | 3.059e-21 | 8.2444 | Vio5
1747.3197 | 2.4016e-21 | 6.4726 | Vio5
1747.5697 | 1.7521e-21 | 4.7216 | Vio5
1747.7797 | 4.8934e-22 | 1.3185
1747.7897 | 4.6426e-22 | 1.2509
1748.5797 | 1.8344e-21 | 4.9405 | Vio5
1748.5897 | 2.0178e-21 | 5.4343 | Vio5
1935.2997 | 5.1035e-22 | 1.2479
1935.7797 | 4.4378e-22 | 1.0849
1938.4497 | 4.7463e-22 | 1.1587
1939.5397 | 4.3692e-22 | 1.0661
1939.5497 | 4.4753e-22 | 1.092
1939.5697 | 4.6424e-22 | 1.1327
1944.6897 | 4.8277e-22 | 1.175
1944.8797 | 4.3947e-22 | 1.0695
1963.3697 | 4.5224e-22 | 1.0907

## S5L1lines
f (Hz) | Amp | SNR | Identified?
42.8297 | 5.1433e-22 | 0.976
42.8397 | 5.1211e-22 | 0.9726
43.2397 | 4.9835e-22 | 0.976
43.2497 | 5.0367e-22 | 0.9872
43.2597 | 5.0235e-22 | 0.9853
43.2697 | 4.9487e-22 | 0.9714
47.3397 | 3.3881e-22 | 0.8939
47.3497 | 3.3651e-22 | 0.8884
47.9997 | 3.46e-22 | 0.9551
48.6497 | 2.8948e-22 | 0.8348
49.1297 | 1.0309e-21 | 3.0694
49.1397 | 9.717e-22 | 2.895
50.5797 | 2.6675e-22 | 0.8727
50.5897 | 2.6597e-22 | 0.8707
50.9997 | 2.5644e-22 | 0.8616
51.9997 | 2.4076e-22 | 0.8611
52.0097 | 2.417e-22 | 0.865
53.2397 | 7.8422e-22 | 3.0246
53.2497 | 7.6947e-22 | 2.9695
53.9997 | 2.367e-22 | 0.9551
54.0097 | 2.3521e-22 | 0.9496
54.6997 | 4.3733e-22 | 1.8383 | Cal1
54.9997 | 2.298e-22 | 0.9828
55.0097 | 2.2788e-22 | 0.9752
55.1097 | 2.1124e-22 | 0.9092
55.9997 | 2.1973e-22 | 0.9947
56.0097 | 2.1859e-22 | 0.9901
56.3797 | 2.105e-22 | 0.9734
56.9897 | 2.5678e-22 | 1.2282
56.9997 | 2.8157e-22 | 1.3475
57.0097 | 2.717e-22 | 1.301
57.3797 | 2.1177e-22 | 1.0347
57.9997 | 2.2715e-22 | 1.1477
58.0097 | 2.2458e-22 | 1.1353
58.3797 | 2.3904e-22 | 1.2326
58.5497 | 2.3567e-22 | 1.2262
58.8197 | 2.8154e-22 | 1.4858
58.8297 | 2.8909e-22 | 1.5265
58.9897 | 4.4259e-22 | 2.3568 | PL1
58.9997 | 5.1554e-22 | 2.7466 | PL1
59.0097 | 4.6794e-22 | 2.4943 | PL1
59.3797 | 3.3709e-22 | 1.8319 | PL1
59.3997 | 3.3698e-22 | 1.8332 | PL1
59.6797 | 6.4919e-22 | 3.5832 | PL1
59.6897 | 6.7057e-22 | 3.7031 | PL1
59.6997 | 6.8583e-22 | 3.7893 | PL1
59.9997 | 8.8749e-20 | 497.9658 | PL1
60.2997 | 7.2138e-22 | 4.1101 | PL1
60.3097 | 7.1303e-22 | 4.0646 | PL1
60.3197 | 6.9815e-22 | 3.9818 | PL1
60.3297 | 6.766e-22 | 3.8608 | PL1
60.3397 | 6.4867e-22 | 3.7033 | PL1
60.5897 | 3.0985e-22 | 1.7915
60.5997 | 3.1628e-22 | 1.8296
60.6097 | 3.1544e-22 | 1.8257
60.6197 | 3.0596e-22 | 1.7717
60.8097 | 2.7302e-22 | 1.5961
60.9897 | 3.9937e-22 | 2.356 | PL1
60.9997 | 4.5855e-22 | 2.7064 | PL1
61.0097 | 4.0951e-22 | 2.4182 | PL1
61.4397 | 2.1166e-22 | 1.2769
61.4497 | 2.1054e-22 | 1.2708
61.9897 | 1.8074e-22 | 1.1203
61.9997 | 1.8534e-22 | 1.1493
62.0097 | 1.8232e-22 | 1.1311
62.3797 | 1.6551e-22 | 1.0455
62.9897 | 1.9557e-22 | 1.2721
62.9997 | 2.1066e-22 | 1.371
63.0097 | 1.9956e-22 | 1.2993
63.9997 | 1.5406e-22 | 1.051
64.9997 | 1.4092e-22 | 1.0067
65.0097 | 1.3695e-22 | 0.9788
65.9997 | 1.3747e-22 | 1.0272
66.0097 | 1.3348e-22 | 0.9979
66.9997 | 1.1941e-22 | 0.9323
67.9897 | 1.174e-22 | 0.9564
67.9997 | 1.1892e-22 | 0.9692
69.7497 | 1.2139e-22 | 1.0637
69.7597 | 1.2418e-22 | 1.0886
71.8697 | 1.0396e-22 | 0.9905
74.3397 | 9.4134e-23 | 0.9835
75.0197 | 1.0397e-22 | 1.1131
75.2297 | 1.2979e-22 | 1.3999
75.2397 | 1.3153e-22 | 1.4192
75.2497 | 1.3215e-22 | 1.4264
75.2797 | 1.2613e-22 | 1.3628
75.9997 | 1.0471e-22 | 1.1602
76.0197 | 1.049e-22 | 1.1631
76.2697 | 1.0635e-22 | 1.1894
76.2897 | 1.0699e-22 | 1.1973
76.3097 | 1.0516e-22 | 1.1778
78.5497 | 1.2254e-22 | 1.4788
78.5597 | 1.3391e-22 | 1.6166
78.5697 | 1.2075e-22 | 1.4581
80.8897 | 1.1183e-22 | 1.4524
82.0897 | 1.3291e-22 | 1.7891
82.0997 | 1.4398e-22 | 1.9387
82.1097 | 1.4507e-22 | 1.9539
82.1197 | 1.3536e-22 | 1.8237
85.8997 | 6.9973e-23 | 1.0473
105.2697 | 5.4036e-23 | 1.1832
105.2797 | 5.4166e-23 | 1.1862
105.2897 | 5.3295e-23 | 1.1673
113.7197 | 4.905e-23 | 1.1854
113.7297 | 5.0488e-23 | 1.2202
113.7397 | 5.0397e-23 | 1.2182
113.7497 | 4.895e-23 | 1.1833
116.6597 | 4.5845e-23 | 1.138
116.6697 | 4.6336e-23 | 1.1503
116.6797 | 4.6154e-23 | 1.1459
119.9897 | 5.0645e-22 | 12.907 | PL2
119.9997 | 5.4878e-22 | 13.9866 | PL2
120.0097 | 4.3981e-22 | 11.2102 | PL2
127.9997 | 4.392e-23 | 1.174
139.5097 | 4.0833e-23 | 1.1336
179.9797 | 1.6335e-22 | 4.4315 | PL3
179.9897 | 1.7762e-22 | 4.8184 | PL3
179.9997 | 1.8128e-22 | 4.9176 | PL3
180.0097 | 1.7267e-22 | 4.6841 | PL3
180.0197 | 1.556e-22 | 4.2209 | PL3
239.9697 | 1.1637e-22 | 2.6659 | PL4
239.9797 | 1.2438e-22 | 2.8492 | PL4
239.9897 | 1.2959e-22 | 2.9686 | PL4
239.9997 | 1.3081e-22 | 2.9963 | PL4
240.0097 | 1.2788e-22 | 2.9292 | PL4
240.0197 | 1.2282e-22 | 2.8132 | PL4
240.0297 | 1.158e-22 | 2.6524 | PL4
299.9697 | 7.621e-23 | 1.4628 | PL5
299.9897 | 7.8058e-23 | 1.4982 | PL5
299.9997 | 7.8293e-23 | 1.5026 | PL5
300.0197 | 7.7425e-23 | 1.4859 | PL5
329.2297 | 3.3706e-22 | 5.9746 | BSV1
329.3397 | 1.2144e-21 | 21.5205 | BSV1
329.4097 | 2.34e-22 | 4.1459 | BSV1
335.4097 | 1.3869e-22 | 2.419 | Vio1
335.5897 | 1.1138e-22 | 1.9417 | Vio1
335.5997 | 1.1287e-22 | 1.9677 | Vio1
342.9297 | 1.3712e-21 | 23.4557 | Vio1
342.9397 | 1.6006e-21 | 27.3803 | Vio1
343.0897 | 3.193e-20 | 545.9886 | Vio1
343.4697 | 2.7723e-20 | 473.5923 | Vio1
343.4797 | 2.6296e-20 | 449.191 | Vio1
343.6197 | 2.9332e-20 | 500.8872 | Vio1
343.6297 | 2.1738e-20 | 371.201 | Vio1
344.2697 | 1.2483e-21 | 21.281 | Vio1
344.4097 | 3.1646e-20 | 539.3164 | Vio1
344.4197 | 3.3718e-20 | 574.6078 | Vio1
345.0197 | 4.3076e-22 | 7.3296 | Vio1
346.0297 | 4.3015e-22 | 7.3004 | Vio1
346.0397 | 4.3709e-22 | 7.418 | Vio1
346.6397 | 2.6648e-20 | 451.5654 | Vio1
346.6497 | 3.8645e-20 | 654.8409 | Vio1
346.8097 | 4.707e-21 | 79.7279 | Vio1
346.8197 | 4.1586e-21 | 70.4378 | Vio1
346.9097 | 2.6921e-20 | 455.8825 | Vio1
346.9197 | 3.9901e-20 | 675.6707 | Vio1
346.9597 | 2.4958e-20 | 422.5845 | Vio1
346.9697 | 3.0012e-20 | 508.1372 | Vio1
347.0397 | 3.6426e-20 | 616.6247 | Vio1
396.6997 | 1.8779e-22 | 2.8214 | Cal2
520.8297 | 9.1703e-23 | 1.0726
645.5397 | 1.1581e-22 | 1.1069
646.7397 | 1.31e-22 | 1.2499
647.0597 | 1.2657e-22 | 1.207
648.2797 | 1.2154e-22 | 1.157
648.3097 | 1.2614e-22 | 1.2008
648.3197 | 1.3746e-22 | 1.3085
648.3497 | 1.1653e-22 | 1.1092
648.3697 | 1.4325e-22 | 1.3636
649.3997 | 1.0918e-22 | 1.0376
649.4197 | 1.3349e-22 | 1.2687
658.4997 | 1.4161e-22 | 1.3282 | BSV2
658.6997 | 3.5659e-22 | 3.3437 | BSV2
658.8197 | 1.3551e-22 | 1.2704 | BSV2
670.8697 | 1.1428e-22 | 1.0531
670.8797 | 1.1821e-22 | 1.0893
671.2597 | 1.1625e-22 | 1.0707
685.8997 | 4.0173e-22 | 3.625 | Vio2
685.9097 | 3.656e-22 | 3.2989 | Vio2
686.1897 | 5.4617e-21 | 49.2625 | Vio2
686.1997 | 6.789e-21 | 61.2336 | Vio2
686.8197 | 4.0317e-22 | 3.6333 | Vio2
687.0397 | 5.224e-21 | 47.0636 | Vio2
687.0497 | 7.1028e-21 | 63.9889 | Vio2
687.3197 | 8.3258e-21 | 74.9785 | Vio2
687.3297 | 8.3874e-21 | 75.5322 | Vio2
688.5697 | 2.3037e-22 | 2.071 | Vio2
688.8597 | 8.6661e-21 | 77.8774 | Vio2
693.4197 | 1.0669e-20 | 95.2749 | Vio2
693.6897 | 1.467e-21 | 13.0959 | Vio2
693.7597 | 1.0286e-21 | 9.1813 | Vio2
693.7697 | 8.3069e-22 | 7.4146 | Vio2
693.9097 | 1.1065e-20 | 98.7442 | Vio2
693.9797 | 9.9193e-21 | 88.5136 | Vio2
694.0897 | 9.8316e-21 | 87.7177 | Vio2
887.6697 | 1.4635e-22 | 1.0318
959.9997 | 2.0291e-22 | 1.3265
960.9997 | 1.618e-22 | 1.0567
987.8497 | 1.6771e-22 | 1.0666
988.1497 | 2.4222e-22 | 1.5399
1029.0797 | 1.9034e-22 | 1.1635 | Vio3
1029.0897 | 1.9673e-22 | 1.2026 | Vio3
1029.5297 | 1.6426e-21 | 10.037 | Vio3
1029.5397 | 2.0422e-21 | 12.4786 | Vio3
1030.4097 | 1.8559e-22 | 1.1331 | Vio3
1030.7597 | 2.7416e-21 | 16.7331 | Vio3
1031.1497 | 4.667e-21 | 28.4738 | Vio3
1031.1597 | 3.4855e-21 | 21.2651 | Vio3
1033.0797 | 1.8348e-22 | 1.1174 | Vio3
1033.5097 | 2.5128e-21 | 15.2972 | Vio3
1033.5197 | 2.6746e-21 | 16.2818 | Vio3
1039.9997 | 1.9092e-22 | 1.1552 | Vio3
1040.3497 | 5.3738e-21 | 32.5054 | Vio3
1040.6997 | 5.0921e-22 | 3.0791 | Vio3
1040.7797 | 4.1539e-22 | 2.5116 | Vio3
1040.7897 | 5.0282e-22 | 3.0402 | Vio3
1041.0197 | 4.7682e-21 | 28.824 | Vio3
1041.1697 | 4.6899e-21 | 28.3465 | Vio3
1041.2697 | 4.245e-21 | 25.6552 | Vio3
1041.6597 | 1.9509e-22 | 1.1786 | Vio3
1149.8897 | 2.3211e-22 | 1.2741
1150.0497 | 2.4549e-22 | 1.3474
1150.0597 | 2.5073e-22 | 1.3762
1150.0697 | 2.519e-22 | 1.3825
1150.0797 | 2.4598e-22 | 1.3501
1150.1897 | 2.3419e-22 | 1.2852
1151.4997 | 8.5019e-21 | 46.6071 | Cal3
1152.9197 | 2.4675e-22 | 1.3511
1152.9297 | 2.5243e-22 | 1.3821
1152.9397 | 2.5152e-22 | 1.3772
1152.9597 | 2.401e-22 | 1.3146
1153.1097 | 2.3289e-22 | 1.2749
1293.4797 | 2.2756e-22 | 1.1141
1294.1097 | 2.212e-22 | 1.0824
1296.6097 | 2.5625e-22 | 1.2516
1296.7297 | 2.2805e-22 | 1.1138
1296.7397 | 2.2703e-22 | 1.1088
1298.8397 | 2.3153e-22 | 1.129
1317.6897 | 2.3743e-22 | 1.1416
1372.3597 | 2.2826e-22 | 1.0548 | Vio4
1372.3697 | 2.276e-22 | 1.0518 | Vio4
1372.9397 | 9.3353e-22 | 4.3123 | Vio4
1372.9497 | 1.04e-21 | 4.8041 | Vio4
1372.9597 | 8.4922e-22 | 3.9228 | Vio4
1374.1997 | 2.2884e-22 | 1.0561 | Vio4
1374.2097 | 2.2907e-22 | 1.0572 | Vio4
1374.6597 | 1.019e-21 | 4.7015 | Vio4
1374.6697 | 1.3203e-21 | 6.0913 | Vio4
1375.1997 | 2.4767e-21 | 11.4226 | Vio4
1375.2097 | 1.7162e-21 | 7.9149 | Vio4
1378.3697 | 1.2459e-21 | 5.733 | Vio4
1378.3797 | 1.4138e-21 | 6.5055 | Vio4
1387.3897 | 2.31e-21 | 10.5624 | Vio4
1387.3997 | 2.1065e-21 | 9.6318 | Vio4
1387.9297 | 2.9833e-22 | 1.3636 | Vio4
1387.9397 | 3.2255e-22 | 1.4742 | Vio4
1387.9697 | 3.0796e-22 | 1.4075 | Vio4
1388.0497 | 2.9129e-22 | 1.3313 | Vio4
1388.0597 | 3.2858e-22 | 1.5017 | Vio4
1388.3797 | 2.5587e-21 | 11.6912 | Vio4
1388.5497 | 2.0682e-21 | 9.4491 | Vio4
1388.5597 | 1.8463e-21 | 8.4351 | Vio4
1388.7097 | 2.4421e-21 | 11.1559 | Vio4
1562.4897 | 2.7302e-22 | 1.1115
1613.8997 | 2.6923e-22 | 1.0618 | CalP1
1618.8997 | 2.7732e-22 | 1.0904 | CalP2
1647.3997 | 3.1354e-22 | 1.212
1716.7597 | 6.6857e-22 | 2.482 | Vio5
1716.7697 | 6.9549e-22 | 2.5819 | Vio5
1716.7797 | 6.1496e-22 | 2.2829 | Vio5
1718.8697 | 7.3067e-22 | 2.7092 | Vio5
1718.8797 | 8.3916e-22 | 3.1115 | Vio5
1719.5497 | 1.5987e-21 | 5.9255 | Vio5
1723.4897 | 8.7537e-22 | 3.2372 | Vio5
1723.4997 | 8.7309e-22 | 3.2288 | Vio5
1734.7997 | 1.8004e-21 | 6.6155 | Vio5
1735.4097 | 3.2511e-22 | 1.1942 | Vio5
1735.5897 | 3.3802e-22 | 1.2415 | Vio5
1735.9597 | 1.4593e-21 | 5.3587 | Vio5
1735.9697 | 1.1703e-21 | 4.2974 | Vio5
1736.1897 | 1.4128e-21 | 5.1873 | Vio5
1736.1997 | 1.0962e-21 | 4.025 | Vio5
1736.4097 | 1.4616e-21 | 5.3656 | Vio5
1736.4197 | 1.0169e-21 | 3.733 | Vio5
1775.3397 | 3.1327e-22 | 1.1253
1876.4697 | 3.3654e-22 | 1.1449
1919.9997 | 3.9937e-22 | 1.3284
1920.9997 | 4.5395e-22 | 1.5092
1921.9997 | 3.3407e-22 | 1.1101
1944.9197 | 3.3706e-22 | 1.1071
1945.0997 | 3.2771e-22 | 1.0762
1948.3297 | 3.2282e-22 | 1.0584
1977.5897 | 3.2704e-22 | 1.0567

## CalLines
http://gallatin.physics.lsa.umich.edu/~keithr/cw/S5_calib_lines.txt
Injected calibration lines during S5
------------------------------------
Voice coil actuations:
H1: 46.70 Hz, 393.10 Hz, 1144.30 Hz | H1: | 46.7 | 393.1 | 1144.3
H2: 54.10 Hz, 407.30 Hz, 1159.7 Hz | H2: | 54.1 | 407.3 | 1159.7
L1: 54.70 Hz, 396.70 Hz, 1151.50 Hz | L1: | 54.7 | 396.7 | 1151.5
Photon calibrator actuations: (alternating between x and y during run)
H1: 1605.7 Hz (X) and 1609.7 Hz (Y) | H1: | 1605.7 | 1609.7
H2: 1622.9 Hz (X) and 1626.7 Hz (Y) | H2: | 1622.9 | 1626.7
L1: 1613.9 Hz (X) and 1618.9 Hz (Y) | L1: | 1613.9 | 1618.9
Mechanical resonances in iLIGO:
http://blue.ligo-wa.caltech.edu:8000/iLIGO/Mechanical_Resonances